Control No.: VTSA-RF-0012-21

SCHNEIDER ELEVATOR SERVICE REPORT (SESR)

| Date of Preventive Maintenance Service |  |  | Equipment Type |  |
| --- | --- | --- | --- | --- |
| Project Name |  |  | Project Number |  |
| Address / Location |  |  | Rated Load Capacity / Speed |  |
| Mode of Service Schedule | Monthly ⃝ | Quarterly ⃝ | No. of Floors / Openings |  |

| SPECIFICATIONS OF TASKS PER AREA | INSPECTION REPORT STATUS / REMARKS |  |  |
| --- | --- | --- | --- |
| I. MACHINE ROOM | GOOD CONDITION | NEED TO REPAIR | NEED TO REPLACED |
| - Inspect MOTOR running condition, noise, and excessive vibration |  |  |  |
| - Inspect and Measured Wire Rope operational diameter |  |  |  |
| - Check feedback rotary encoder against unnecessary vibration |  |  |  |
| - Inspect main drive secondary pulleys, bearings, and oil rings |  |  |  |
| - Inspect Braking System (Brake Coil, Pads, & linings) |  |  |  |
| - Inspect and Test Governor Safety if normally functioning |  |  |  |
| - Check-up Traction Machine’s Oil Gauge (use only Approved oil) |  |  |  |
| - Inspect and Re-tight Machine room bed/ base Bolts and Nuts |  |  |  |
| - Maintain Cleanliness of Machine Room |  |  |  |
| II. CONTROL PANEL |  |  |  |
| - Inspect Electrical & Electronic Components (transformer, magnetic contactor, breakers, main board, inverter, etc) |  |  |  |
| - Check Ventilation fan if functional (temp. must be less than 45degree) |  |  |  |
| - Inspect for loose wires, bolts, nuts, terminals fittings |  |  |  |
| - Check and Test Emergency communication system (intercom, alarm indicator, AVR, ELD, etc) |  |  |  |
| - Check if functional additional features such as: Remote Monitoring Device (Computer), CCTV system, Recessed LED Screen, Elevator voice announcer, etc) IF AVAILABLE |  |  |  |
| III. HOISTWAY SHAFT COMPONENTS |  |  |  |
| - Ensure alignment, lubricate, and calibrate Door mechanisms, rollers, guide shoes, counterweights, interlocks, cables, safety switches, and related components |  |  |  |
| - Run and Test adjustments of leveling in all Landing Floors (leveling error must not exceed 5mm) |  |  |  |
| - Ensure Entrance sill to its allowable clearances |  |  |  |
| - Inspect and ensure Wire rope degree of tightness and tensions |  |  |  |
| - Check and test compensating chain against vibration while the Elevator Unit is in motion |  |  |  |
| - Check and test; Top & Bottom limit and Terminal switches if functional |  |  |  |
| - Inspect Hoist way wiring cable tray/raceway holders and fixtures |  |  |  |
| IV. ELEVATOR CAR (TOP & INSIDE) | GOOD CONDITION | REPAIRED | REPLACED |
| - Check and monitor leveling sensors response if acceptable |  |  |  |
| - Inspect and test monitor car door system, door motor, drives and other connected parameters |  |  |  |
| - Check and test landing Gong, overload alarms, and emergency stop button if all functional |  |  |  |
| - Check and test curtain sensors if acceptable on-time |  |  |  |
| - Cleanliness of Car Top |  |  |  |
| V. ELEVATOR PIT |  |  |  |
| - Check and monitor spring buffer switch emergency stop switch, and governor switch if all activated |  |  |  |
| - Cleaning of Pit |  |  |  |
| VI. OTHERS |  |  |  |
| - Observe Elevator running parameters, acceleration, deceleration, and high-speed running condition if normally functioning |  |  |  |
| - Observe Elevator Door opening, and closing delay if acceptable |  |  |  |
| - Observe Hall, Car button, and Digital indicators if all functional |  |  |  |
| - Check and Test Safety & Emergency Switch if activated (By-pass is not allowed) |  |  |  |

MOTOR PARAMETERS READING

| VOLTAGE READING |  |  |  |  |
| --- | --- | --- | --- | --- |

Check and confirmed by contractor supervisor/technician: 		____________________________	_______________________									       Name and Signature     	                 Date

Check and confirmed by Owner/Client: 				____________________________	_______________________									       Name and Signature     	                 Date